Preventative Maintenance Log

|  | Manufacturer | Model | Serial Number |
| --- | --- | --- | --- |
| Air Compressor |  |  |  |
| PSA Plant |  |  |  |
| Oxygen Booster Compressor |  |  |  |

| Component | Service | Frequency | Hours | Date | Initials | Hours | Date | Initials | Hours | Date | Initials | Hours | Date | Initials | Hours | Date | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Air Compressor | Change air filter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change oil |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change oil filter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change oil separator elements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Inspect belt (if equipped) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean air dryer condenser radiator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean aftercooler and intercooler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change coalescing filter #1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change coalescing filter #2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change coalescing filter #3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Generator | Change coalescing filters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service solenoid (or pneumatic) valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Booster Compressor | Check belt tension |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check for bearing wear |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean cooling fans |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean in-line filter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change 1st and 2nd stage piston rings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Delivery Systems | Check cylinder valves for leaks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Inspect cylinder valves for damage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |